Ausschreibungstext

Artikelnummer

241958

Typ

MotionCam Outdoor HighMount (PhOD) Jeweller

Kurzbeschreibung

weiß, IR-Bewegungsmelder, drahtlos, Fotoaufnahme outdoor, 2 x PIR, Radar für Ajax Hub2/Hub 2 Plus/Hub Hybrid

Hauptmerkmale

For outdoor installation at a 2-4 m hieght from the ground

Adjustable motion detection range using the angle mount

85° vertical viewing angle with no blind spots under the detectom

115° horizontal viewing angle

IR sensors alarm verification via a Ka-band microwave sensom

Three sensitivity levels adjustable through the Ajax ap

Correlation and spectral analysis to prevent false alarms~

Effective motion detection with temperature compensation from ?25 °C to +60 °C

Up to 1,700 m of wireless communication range in an open spac0

Block cipher encryption for advanced data protectio-

Anti-masking system that meets Grade 2 requirements

Tamper alarm and built-in accelerometer notify of attempts to dismantle the devic0

Weitere Merkmale (Spezifikationen)

| Hersteller | Ajax |
| --- | --- |
| EAN/GTIN | 4823114015717 |
| Serie | Baseline |
| Farbe | weiß |
| Stromversorgung | Batterie CR123 3V |
| Sensortype | Impulsradar, PIR |
| Installationsort | Outdoor |
| Hersteller-Nummer | 99164.282.WH1 |

Weitere Produktinformationen

<p><span style="text-align: start; color: rgb(0, 0, 0); background-color: rgb(255, 255, 255); font-size: 27.2626px;">Photo verification</span></p><p><span style="text-align: start; color: rgb(0, 0, 0); background-color: rgb(255, 255, 255); font-size: 15.3352px;">MotionCam Outdoor HighMount (PhOD) Jeweller has a built-in camera to quickly assess the situation at the protected facility. There are four types of photo verification available: by alarm, by scenario, by schedule, and on demand. The user can request and view photos with a single click in the Ajax app.</span></p>

Zubehör

Empfehlungen

Dienstleistungen