Ausschreibungstext

Artikelnummer

214509

Typ

AXIS T8061 ETHERNET SURGE PROTECTOR

Kurzbeschreibung

Überspannungsschutz, bis 10kV, für Netzwerkkomponenten, GBit und PoE Support, IP66

Hauptmerkmale

Netzwerk Überspannungsschutz

Für Datenraten bis 1 Gbps

Schützt bis 10 kV Spannung

Schutz aller 8 Netzwerkadern

PoE Unterstützung

Für Außenanwendung, IP66

Flexible Installation

Weitere Merkmale (Spezifikationen)

| Hersteller | AXIS |
| --- | --- |
| EAN/GTIN | 7331021054899 |
| Serie | Axis T80 |
| Hersteller-Nummer | 5801-641 |

Weitere Produktinformationen

Zubehör

| AXIS 30 W MIDSPAN AC/DC 24 V | PoE+ Midspan, IEEE802.3at, IEEE802.3af, 1 Port, Innen, 30W, 24 V AC, 10-28 V DC |
| --- | --- |
| AXIS 30W MIDSPAN | PoE+ Midspan, IEEE802.3at, Type 2, Class 4, 1 Port, Innen, 100-240VAC |
| AXIS 30W OUTDOOR MIDSPAN | PoE Midspan, 1 Port, IEEE802.3at, 30W, IP66/67, -40°C - +65°C |
| AXIS LONG RANGE POE EXTENDER KIT | PoE Extender, PoE, PoE+, Innen, RJ45, bis 1000m Reichweite |
| AXIS POE MIDSPAN 16-PORT | PoE Midspan, 16 Port, IEEE802.3af, 90-264VAC |
| AXIS POE MIDSPAN 8-PORT | PoE Midspan, 8 Port, IEEE802.3af, 90-264VAC |
| AXIS T8120 15W MIDSPAN 1-PORT | PoE Midspan, 1 Port, IEEE802.3af, 10/100Mbps |
| AXIS T8129 POE EXTENDER | PoE Extender, PoE, PoE+ kompatibel, RJ45, 100m Reichweite |
| AXIS T8134 60W MIDSPAN | High PoE Midspan, 1 Port, 60W, Gigabit, -10 - +45°C, 100-240V IEEE802.3at, IEEE802.3af |
| AXIS T8144 60W INDUSTRIAL MIDSPAN | High PoE Midspan, 1 Port, 60W, Gigabit, -40 - +75°C, 20-60VDC DIN Montage |
| AXIS T8504-E OUTDOOR POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 150W PoE, Außen, IP67 |
| AXIS T8504-R INDUSTRIAL POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 240W PoE Budget |
| AXIS T8508 POE+ NETWORK SWITCH | Gigabit Switch, managed, 8 PoE+ Ports, 2x SFP/RJ45 Uplinks, 130W PoE, 1HE |
| AXIS T8516 POE+ NETWORK SWITCH | Gigabit Switch, managed, 16 PoE+ Ports, 2x SFP/RJ45 Uplinks, 240W PoE, 19", 1HE |
| AXIS T8524 POE+ NETWORK SWITCH | Gigabit Switch, managed, 24 PoE+ Ports, 2x SFP/RJ45 Uplinks, 370W PoE, 19", 1HE |
| AXIS T8604 MEDIA CONVERTER SWITCH | Ethernet Medienkonverter, 2x 10/100Mbps RJ45, 2x 100/1000Mbps SFP |
| AXIS T8606 MEDIA CONV SWITCH 24VDC | Ethernet Medienkonverter, 2x 10/100Mbps RJ45, 2x 100/1000Mbps SFP, 24VDC |
| AXIS T8607 MEDIA CONV SWITCH 24VDC | Medienkonverter Switch, für Axis Q6055-C, 2x RJ45, 2x SFP, 2x I/O, 24VDC |
| AXIS T8640 POE+ OVER COAX KIT | Medienkonverter, RJ45, BNC, Ethernet über Koax, PoE+, Base-/Device Set (2 Stück) |
| AXIS T8645 POE+ COAX COMPACT KIT | PoE+ über Coax Set, 1x AXIS T8641 Base Einheit, 1x AXIS T8643 Device Einheit |
| AXIS T92E20 HOUSING | Wetterschutzgehäuse, für Axis P13, M11, Q1755, Heizung, Lüfter, Dach, Wandarm, IP66 |
| AXIS T93F20 OUTDOOR HOUSING POE | Wetterschutzgehäuse, für Axis P13, Q16, Wandarm, IP66, IK10, PoE, weiß |
| AXIS T99A11 24V AC/DC | Schwenk-/Neigekopf, für Axis PT Mount Wärmebild Kameras, 360°, 24VAC/DC, IP66, IK10 |

Empfehlungen

Dienstleistungen