Specifications text

Article number

219423

Type

ITB-7SF0035M0A

Short description

Thermal Network Camera, 35mm, 9,3°, 336x256, 25Hz, Audio, Composite,  PoE,  IP67

Main Features

Thermal camera with Ethernet and Composite Video out

Resolution 336x256 Pixel, 25 Hz

35mm lens,9.3° viewing angle

Easy handling, USB remote interface

Alarm output contact triggers by temperature measurement

Simultaneously H.264 & MJPEG (Triple streaming)

Cross Web Browsing (IE, Safari, Firefox, Chrome)

VerticalView 90° / 270°, Audio

Responsive Web Design, Zero Configuration

HTLM5 playback, Slot for micro SD memory card

Easy installation, fixation via central screw

Flexible power supply 12VDC, 24VAC or PoE

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 219423 |

Additional Productinformation

Important information on trading with 25Hz thermal imaging cameras<br/> A requirement for a written declaration for trading with thermal imaging cameras with a refresh rate of 25fps (25Hz) has recently been introduced. This declaration is demanded by the US government. Consequently, 25Hz thermal imaging cameras may only be exported to the following countries: <br /> Argentina, Australia, Austria, Belgium, Bulgaria, Canada, Croatia, Czech Republic, Denmark, Estonia, Finland, France, Germany, Greece, Hungary, Iceland, Ireland, Italy, Japan, Latvia, Lithuania, Luxembourg, Netherlands, New Zealand, Norway, Poland, Portugal, Romania, Slovakia, Slovenia, South Korea, Spain, Sweden, Switzerland, Turkey and the United Kingdom<br /> To ensure this, every company including the end customer involved in trade with 25Hz thermal imaging cameras is obligated by the US company to print an appropriate document on its company letterhead paper, to sign this document and to send it by post to the following address. Every company is required to keep a copy of the signed document for at least 5 years and to submit this upon request to the US authorities. An order can only be delivered after all documents have been submitted to FLIR.<br /> VIDEOR E. Hartig GmbH Kaufmannische Abwicklung Carl-Zeiss-Straße 8 D-63322 Rödermark Germany<br /> <a href="http://eneo-security.com/media/wysiwyg/docs/FLIR/EN_FLIR_Consignee_Statement.pdf" target="_blank" title="FLIR Consignee&nbsp Statement" >The original document can be downloaded here.</a><br />Thermal imaging cameras with refresh rates of 8.3fps and 9fps (8.3/9Hz) are not affected by this rule, possible such a version should be preferred to a 25Hz version.

Related products

| AK-4 | Camera junction box, for Candid Small ,Candid Medium, Series |
| --- | --- |
| eneo Site Manager | Management Software for eneo IP products |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45, and 1x SFP 1000Mbps, Unmanaged, Industrial Design |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |
| IAR-7SG1016MMA | Gigabit Switch, Managed, 270W, 16x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| IAR-7SG1024MMA | Gigabit Switch, Managed, 390W, 24x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| PM-42A | Pole mount adaptor for eneo Candid, Candid S, Candid M, WB1, AK-5, AK-4 |
| VerticalView Adaptor | For IP Candid Medium Series using the VerticalView mode Mode |

Recommendations

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| WDD064G1P0C | MicroSDXC Speicherkarte, 64GB, Class 10, UHS-I U1, 32TBW, für Videoüberwachung |

Services