Specifications text

Article number

221517

Type

AES-5SF0036M0A

Short description

1/3" Mini Dome, Fix, clear 3,6mm, 960TVL, 12VDC, vandalism protect, flush mount

Main Features

1/3" Fix dome camera with Sony CCD

Integrated lens F2.0/3.6mm

Resolution of 960 horizontal lines

Automatic shutter control

Digital signal processing (DSP)

Automatic white balance (ATW)

White-coloured aluminium die-cast casing

Clear Lexan bubble, 57mm

Easy indoor installation

For in-ceiling flush mounting

Vandal resistant

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Dimensions (HxWxD) | 58,5x88 |
| Series | eneo COAXIZE |
| Horizontal resolution | 960 TVL |
| System | electronic Day&Night |
| Sensor size | 1/3" |
| Imager | CCD |
| Day&Night switch | Electronic |
| Sensitivity | 0,1 Lux at F1,2, 50 IRE |
| Digital Noise Reduction | yes |
| Lens Type | fixed focal length |
| Focal Length | 3,6 mm |
| Digital Zoom | no |
| Observe (62 px/m) | 12,6 m |
| Recognize (125 px/m) | 5,9 m |
| Identify (250 px/m) | 2,8 m |
| Detect (25px/m) | 32,2 m |
| Horizontal Angle of View | 68° |
| MOD (Mininum Object Distance) | 0,1 m |
| llumination | no |
| Housing | Outdoor |
| Color (housing) | white |
| Color (bubble) | clear |
| Hosuing material | Aluminium |
| Heater | no |
| Video outputs | Composite (CVBS) |
| Alarm inputs | nein |
| Alarm outputs | no |
| Serial interfaces | no |
| Mounting | Flush mount |
| Supply voltage | 12VDC |
| Power consumption | 1.2W |
| Vandal proof | yes |
| Operating temperature | -10°C ~ +50°C |
| Protection rating | IP66 |
| Low Speed Shutter | no |
| Backlight Compensation | BLC |
| Wide Dynamic Range (WDR) | no |
| Motion Detector | no |
| Camera type | Dome |
| Weight | 200 g |
| Manufacturer order number | 221517 |

Additional Productinformation

Related products

| MAM-5DC1004M0A | Distributor, 1x BNC Input HD-TVI, CVI, AHD, CVBS, 4x BNC Output |
| --- | --- |
| MAM-5MM2203M0A | Converter, 4K HD-TVI, HD-CVI, AHD, auf HDMI, Indoor 12VDC |
| PS12DC-11 | Plug-in Power Supply Unit, 100-240VAC/12VDC (1,0A), regulated, with DC Plug |

Recommendations

Services