Specifications text

Article number

221815

Type

SOL-IQbox-Strong

Short description

Camera junction box for video surveillance, stainless steel 304L, 400x300x200mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible modular expansion

Stainless steel 304L / EN 1.4301

Cable glands plastic

Protective class IP66

Impact resistance IK10 vandalism protected

Swivelling door with door contact switch

Fast and easy installation

For wall or pole mounting

Other Features (Specifications)

| Brand | Solvido |
| --- | --- |
| Manufacturer order number | 221815 |

Additional Productinformation

Related products

| SOL-IQbox-SD | Sonnendach für SOL-IQbox Serie Edelstahlausführung EN1.4301 |
| --- | --- |

Recommendations

Services