Specifications text

Article number

227481

Type

Safe&Easy-Set-08BF

Short description

Camera Recorder Set of 1 x NVR IER-28R080405A, 8 x Bullet Camera IEB-54F0028M

Main Features

Network Bullet Camera Fixed 2.8mm, Day&Night lens

Resolution max. 2592x1520

Compression H.265/H.264

Cross-web-browsing

ROI (Region of interest)Hi-Stream to reduce the bandwidth

Compact design, Outdoor applications, IP67

8-channel network video recorder, 4TB HDD

Easy installation with eneo IP cameras

Resolution IP cameras up to 8 megapixel

8x alarm input and 1x alarm output

8x PoE port (IEEE802.3af), total power 38W

4K 3840x2160 HDMI / VGA monitor output

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 227481 |

Additional Productinformation

Detailed specifications and operating instructions for the products used in the Safe&Easy-Set-08BF (227481) can be found under these article numbers227035: <a href="https://eneo-security.com/en/ier-28r080405a.html">IER-28R080405A</a>225714: <a href="https://eneo-security.com/en/ieb-54f0028m0a.html">IEB-54F0028M0A</a>

Related products

| AK-8B | Camera junction box, Wall and Ceiling mounting |
| --- | --- |
| AK-9B | Camera junction box for DH-6, Dome-WB4 |
| eneo Center | Remote Software IER-25xx, IER-28xx, IER-38xx, MSR-24xx, MSR-25xx, MER-Serie |
| eneo Center mobile | Mobile App for IER-25xx, IER- IER-28xx. IER-38xx, IEM-38xx MSR-24xx, MSR-25xx |
| eneo Site Manager | Management Software for eneo IP products |
| HDD-2000SATA Purple | Hard Disk Drive 2TB, SATA, for eneo Video Recorders, expansion |
| HDD-3000SATA Purple | Hard Disk Drive 3TB, SATA, for eneo Video Recorders, expansion |
| HDD-4000SATA Purple | Hard Disk Drive 4TB, SATA, for eneo Video Recorders, expansion |
| HDD-6000SATA Purple | Hard Disk Drive 6TB, SATA, for eneo Video Recorders, expansion |
| HDD-8000SATA Purple | Hard Disk Drive 8TB, SATA, for eneo Video Recorders, expansion |

Recommendations

| WD Ultrastar SATA 10TB | Festplatte, 3,5", SATA 6Gb/s, 10TB, 7200RPM, 256MB, 24/7, R/V Sensor |
| --- | --- |

Services

| CON-eneo-KON-04 | Preconfiguration 1x eneo recorder with up to 4 eneo IP cameras |
| --- | --- |
| CON-eneo-KON-08 | Preconfiguration 1x eneo recorder1x eneo IE with up to 8 eneo IP cameras |
| CON-HDD-eneo | Hard disk installation service for eneo |
| IER/PNR-KON4 | Configuration 1x PNR-53xx with 1-4 eneo IP Cameras |