Specifications text

Article number

227060

Type

IPB-62M2712M5A

Short description

1/2,8" Network Camera, 1920x1080, Day&Night, DOL-WDR, 2,7-12mm, Infrared, IP66

Main Features

1/2.8" Sony STARVIS CMOS sensor

Resolution max. 1920x1080 (Full HD)

Motorised varifocal lens 2,7~12mm

DOL-WDR (120dB)by triple scan images at 30/25fps

Motion Detection, Privacy Zones, Defog

Browser independent (IE, Edge, Safari, Firefox, Chrome)

Smart Codec H.265 ROI (Region of interest)

Triple Smart Streaming: H.265(+), H.264(+), MJPEG

Responsive Web Design, Zero Configuration

Power supply PoE or 12VDC

For outdoor use IP66

Supports ONVIF Profile S and Profile T

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 227060 |

Additional Productinformation

Related products

| eneo Site Manager | Management Software for eneo IP products |
| --- | --- |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |

Recommendations

Services

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |