Specifications text

Article number

229171

Type

SOL-IQbox-Edelstahl

Short description

Camera junction box for video surveillance, stainless steel, 400x300x200mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible modular expansion

Stainless steel AISI 304L

Cable glands plastic

Protective class IP66

Including electrical circuit breaker 1-pole 6kA

Impact resistance IK10 vandalism protected

Swivelling door with door contact switch

Fast and easy installation

For wall or pole mounting

Dimensions 400x300x200 mm

Other Features (Specifications)

| Brand | Solvido |
| --- | --- |
| Series | Solvido IQbox |
| Housing | Outdoor |
| Color (housing) | silver |
| Hosuing material | Stainless steel |
| Heater | no |
| Dimension (lxwxd) | 400x300x200mm |
| Supply voltage | 230VAC |
| Operating temperature | -40°C ~ +70°C |
| Certifications | IK10 |
| Protection rating | IP66 |
| Manufacturer order number | 229171 |

Additional Productinformation

Related products

| CUS-CSF-060 | with thermostat, for DIN rail mounting Hutschienenmontage |
| --- | --- |
| SOL-WST-MB-30-E | Mastbefestigung 30cm für SOL-IQbox-Edelstahl Serie Set (2 Stck.) |
| SOL-WST-WB-316L | Wandbefestigung Edelstahl für SOL-IQbox-Edelstahl Serie Set (4 Stck.) |

Recommendations

Services