Specifications text

Article number

233754

Type

AK-20

Short description

Camera connection box for Wall and ceiling mounting, IN Series Bullet Cameras

Main Features

Professional installation

For wall and ceiling surface mounting

Hinged openable

Weatherproof IP64

Easy and fast cable connection

Compatible with the following products

IN Series Bullet Cameras

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| EAN/GTIN | 4260229840139 |
| Dimensions (HxWxD) | see drawing |
| Series | eneo IN-Series |
| Housing | plastic |
| Color | Pantone P 179-1, RAL9003 |
| Protection rating | IP64 |
| Weight | 480g |
| Manufacturer order number | 233754 |

Additional Productinformation

<p><strong>Installation Note</strong></p> Please note that when installing the connection box type AK-20 in combination with the pole adapter type PM-21, the cable may only be fed in from the side, top or bottom. Cable feed via the rear through the mast adapter is not permitted.

Related products

| PM-21 | Pole mounting adapter for camera connection box AK-20 and AK-21 |
| --- | --- |

Recommendations

| jetcon-Cat-Cat-FC | Kabelverbinder AWG27-22, IP67 Feldkonfektionierbar |
| --- | --- |
| jetcon-RJ45S-Cat6-FC | RJ45 Stecker Cat.6 AWG22-27, Feldkonfektionierbar, schwarz |
| jetcon-RJ45S-Cat6-small-FC | RJ45 Stecker Cat.6 AWG22-26, Feldkonfektionierbar, schmale und kurze Ausführung |
| jetcon-RJ45S-Cat6A-FC | RJ45 Stecker Cat.6A AWG22-27 Feldkonfektionierbar, blau |

Services