Specifications text

Article number

210476

Type

AK-4 CB

Short description

Connection board with 12V power supply

Main Features

Plug in power supply and connection board for AK-4

Power supply 230VAC /  Output 12VDC

Maximum power 26 Watt / 2.0 Ampere

LSA terminal block or RJ-45 socket (IP external)

RJ-45 socket for camera input (PoE pass through possible)

Compatible to Candid und Callisto series

Connector terminal for new 4-/8- pin connector

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 210476 |

Additional Productinformation

Related products

Recommendations

Services