Specifications text

Article number

236774

Type

SC-MUCP0801E

Short description

1-channel UTP-Transmitter, Receiver, supports AHD, TVI, CVI and CVBS

Main Features

1CH 'Video + Power + RS-485 Data' transmission via CAT.5e

Supports various signals: AHD/TVI/CVI (~1080p), CVBS (NTSC/PAL)

Video In: ~ 1080p25/30 (AHD, TVI, CVI, CVBS)

Video Out: ~ 1080p25/30 (AHD, TVI, CVI, CVBS)

Max. 700m over CAT.5e (AHD, CVBS)

Max. 400m (CVI), Max. 300m (TVI) via CAT.5e

Power supply for one camera (~8W/ DC12V)

Minimization of video noise

Built-in overvoltage protection circuit

Power supply 12VDC, 48VDC

-10°C ~ +50C Temperature range

-10°C ~ +50C Temperaturbereich

Other Features (Specifications)

| Brand | SeeEyes |
| --- | --- |
| Type | Media Converter |
| Series | SeeEyes SC-IP |
| Transmission medium | UTP |
| Ports | 1 |
| Model | mini module |
| Type of unit | transmitter / receiver |
| Range | 400 m |
| Signal transmission | audio, video |
| Operating temperature | -10°C ~ +50°C |
| Operation mode | active |
| Manufacturer order number | SC-MUCP0801E |

Additional Productinformation

Related products

Recommendations

Services