Specifications text

Article number

236812

Type

SC-IPC0708HU

Short description

Mediaconverter set, 8-channel, Ethernet over UTP reach 800m

Main Features

8-channel Ethernet, PoE via UTP transmission

Set consisting of transmitter and receiver (hub)

Long distance transmission via Cat.5e

Transmission range: 100Mbps up to 500m

Transmission range: 10Mbps up to 800m

Power supply unit included

Other Features (Specifications)

| Brand | SeeEyes |
| --- | --- |
| Type | Media Converter |
| Series | SeeEyes SC-IP |
| Mounting | wall mount |
| Transmission medium | UTP |
| Ports | 1, 8 |
| Model | mini module, module |
| Range | 800 m |
| Supply voltage | 240VAC, PoE |
| Operating temperature | -10°C ~ +50°C |
| Manufacturer order number | SC-IPC0708HU |

Additional Productinformation

Related products

Recommendations

Services