Specifications text

Article number

237249

Type

SC-IPU601T

Short description

1-channel-IP transmitter PoE over UTP, High Power (70W) , High Reach up to 800m

Main Features

1-channel IP + PoE via UTP transmitter

PoE++ (IEEE 802.3af/at/bt, max 70W

Transmission range: 100Mbps up to 500m

Transmission range: 10Mbps to 800m

Supports Auto MDI/MDIX function

Power transmission with automatic power diagnostics

Built-in surge protection

Other Features (Specifications)

| Brand | SeeEyes |
| --- | --- |
| Type | Media Converter |
| Series | SeeEyes SC-IP |
| Mounting | wall mount |
| Transmission medium | UTP |
| Ports | 1 |
| Model | module |
| Range | 800 m |
| Supply voltage | 56VDC, PoE |
| PoE budget | 70 W |
| Operating temperature | -10°C ~ +50°C |
| Manufacturer order number | SC-IPU601T |

Additional Productinformation

Related products

Recommendations

Services