Specifications text

Article number

236275

Type

IAM-5SG1008MMC

Short description

Gigabit Switch, Managed, 360W, 4x PoE++, 4x poE+, 1000Mbps, Industrial Design, -40°C~+75°C

Main Features

Gigabit PoE Switch, DIN Rail, Fanless

8x Gigabit PoE ports (4x PoE++90W, 4x PoE+30W)

Supports IEEE 802.3af/at/bt

Supports P-PoE Permanent PoE technology

Total max. 360W (optional power supply)

4x SFP Gigabit Uplink Ports thereof 2x 10G SFP+

L2 management, web configuration, web management

Supports VLAN, RTSP, "Fast Ring" and QoS

Fast Ring redundancy, reconfiguration <20ms

Redundant power supply possible

Error relay, console port, status LEDs

Temperature range -40°C~+75°C

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 236275 |

Additional Productinformation

Related products

| eneo Site Manager | Management Software for eneo IP products |
| --- | --- |
| RJT-1000SFP | RJ45- SFP Transceiver Modul, 1000Base-T, 0°~ +70°C |
| SFP-0850M10 | SFP Modul, 1.25Gbps, 550m, Multimode, 850nm, Duplex LC Connector, 0°~+70°C |
| SFP-0850M40 | SFP Modul, 1,25Gbps, 550m, Multimode, 850nm, Duplex LC Connector, -40° ~ +70°C |
| SFP-1310M40 | SFP Modul, 1.25Gbps, 550m, Multimode, 1310nm, Duplex LC Connector, -40°~+75°C |
| SFP-1310S10 | SFP Modul, 1.25Gbps, 20km, Singlemode, 1310nm, Duplex LC Connector, 0°~+70°C |
| SFP-1310S40 | SFP Modul, 1.25Gbps, 20km, Singlemode, 1310nm, Duplex LC Connector -40°~+75°C |

Recommendations

| jetpower-NDR-240-48 | Netzgerät für DIN Rail Montage 230VAC Eingang, 48VDC Ausgang max. 240W |
| --- | --- |

Services