Specifications text

Article number

74327

Type

DL1142

Short description

RS-422 Line Driver for Transmission up to 4800m via Cat2-5 UTP Cable, 14-18VDC

Main Features

Transmission of any RS-422 (Bi-Phase) Signals

Data Speeds of 64K Baudrate up to 4800m

Bi-direcional RS-422 Transmission possible

4-wire RS-485 Transmission up to 4800m (2x DL1142)

EIA Standard Input and Output

Unshielded CAT2 (min) Cable Required

Video, AC, Telephone, Computer Signals via 1 Cable

Built-in Surge Suppression

Screwless Terminal Block Connector

Supply Voltage: 14-18VDC

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Model | module |
| Type of unit | transmitter / receiver |
| Range | 4800 m |
| Signal transmission | data |
| Protection rating | n/a |
| Operation mode | active |
| Manufacturer order number | DL1142 |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services