Specifications text

Article number

236668

Type

INM-78M2812M0A

Short description

Network Multisensor camera, 4x 3840x2160, Day&Night, 2,8-12mm IR, White light, WDR, IK10, IP67

Main Features

Multidirectional camera 4x 1/1.8" CMOS

Max. Resolution 3840 x 2160, frame rate 25fps

Lenses with motorised focal length 2.8-12mm

AI analysis functions including object classification

Smart codec H.265/H.264, multi-streaming

Browser-independent (Edge, Safari, Firefox, Chrome)

Supports T-WDR, BLC, HLC and 3D DNR

Supports ONVIF profiles G, S and T

Integrated IR and white light illumination

For outdoor use IP67, vandalism protected IK10

NDAA compliance

Wall bracket and PoE injector included

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| EAN/GTIN | 4260229840627 |
| Dimensions (HxWxD) | 146x300mm |
| Series | eneo IN-Series |
| Camera Type | Multisensor Camera |
| Resolution Standard | 32 Megapixel |
| System | electronic Day&Night |
| Sensor size | 1/1.8" |
| Imager | CMOS |
| Video compression | H.264, H.264+ (Smart Stream), H.265, H.265+ (Smart Stream), M-JPEG |
| Image resolution max. | 3840x2160 |
| Image Transmission Rate | 30 fps |
| Day&Night switch | ICR |
| Sensitivity | 0,006 Lux bei F1,2 |
| Digital Noise Reduction | yes |
| Lens Type | Varifocal (motorized) |
| Focal Length | 2,8 - 12 mm |
| Iris Control | DC |
| Horizontal Angle of View | 48 - 112° |
| Vertical Angle of View | 27 - 58° |
| llumination | Infrared, White light |
| Housing | Outdoor |
| Color (housing) | Pantone P 179-1, RAL9003 |
| Color (bubble) | clear |
| Hosuing material | Aluminium |
| Heater | yes |
| Window heater | no |
| Blower | no |
| Video outputs | no |
| Alarm inputs | ja |
| Alarm outputs | yes |
| Audio support | yes |
| Ethernet interface | 1000Base-T, 100Base-TX, 10Base-T |
| Serial interfaces | Ethernet |
| Internal storage | 256GB, microSD card, microSDHC card, microSDXC card |
| Analysis functions | Cross Counting (CC), Crowd Density Detection (CD), Face Detection (FD), Heat Map (HM), Human&Vehicle Detection (PD&VD), License Plate Recognition (LPR), Line Crossing Detection (LCD), Perimeter Intrusion Detection (PID), Queue Lenght Detection (QD), Stationary Object Detection (SOD) |
| Mounting | Wall mount |
| Supply voltage | 12VDC, 24VAC, PoE++ |
| Power consumption | 35W @ 24VAC, 40W @ 12VDC, 41W @ PoE |
| Power over Ethernet | IEEE 802.3bt |
| Vandal proof | yes |
| Operating temperature | -30°C ~ +55°C, @ Humidity 95% or less (non-condensing) |
| ONVIF | ONVIF Profile G, ONVIF Profile S, ONVIF Profile T |
| Certifications | IK10 |
| Protection rating | IP67 |
| Low Speed Shutter | yes |
| Backlight Compensation | BLC, HLC |
| Wide Dynamic Range (WDR) | WDR 120dB |
| Motion Detector | yes |
| Camera type | Dome |
| Frame rate | 3840 × 2160)@25/30fps pro Kanal |
| Remote configuration | Browser |
| Illumination range | approx. 35m IR, approx.25m White Light |
| Weight | 4.6kg |
| Network connection | 1 x 10/100/1000BASE-T |
| Manufacturer order number | 236668 |

Additional Productinformation

Related products

| CM-22 | Corner mounting adapter for wall bracket WB-24 and PTZ dome camera INP-75A0033MIA |
| --- | --- |
| DOME-CH7 | Ceiling mount IN-Series Length approx. 294mm |
| eneo INsight Installation Tool | Supports adjustments for cameras with AI features for IN-series |
| eneo Site Manager | Management Software for eneo IP products |
| KBD-3NET | Network keyboard with joystick, supports ONVIF protocol, RJ45, 12VDC |
| PM-21 | Pole mounting adapter for camera connection box AK-20 and AK-21 |

Recommendations

| jetpower-PSU-XS-11C | Universal Netzteil 12V/1,5A ID 2.1 x OD 5.5, 11mm |
| --- | --- |

Services

| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| --- | --- |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |