Specifications text

Article number

204004

Type

UTPSYS16

Short description

16 Port Video, Power and Data Distribution Unit

Main Features

Camera power, PTZ distribution & video over a UTP cable

Independently selectable 24VAC/28VAC with 1.25A/channel

Each port is individually fused by PLC fuses

Additional cards can be added for future expansion

LED indicators for power and P/T/Z data

Standard datacom structured cabling pinouts TIA/EIA568B

Class II UL certified

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Model | 19" Rack |
| Type of unit | transmitter |
| Range | 300 m |
| Signal transmission | data, video, voltage |
| Protection rating | n/a |
| Operation mode | passive |
| Manufacturer order number | UTPSYS16 |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services