Specifications text

Article number

240908

Type

ExCam IPQ1715 T08-VA2.2.K1.BOR-L.N-005.N-P

Short description

camera in stainless steel housing in accordance with RL 2014/34/EU (ATEX) and IECEx, 1080p, 20x optical zoom, IP68, -40°C/+60°C

Main Features

1/2.8" CMOS sensor with 2 MP (1920 x 1080)

Powerful motorized zoom autofocus lens (21x optical)

AISI 316L stainless steel

Certified for hazardous areas according to ATEX, IECEx, INMETRO, EAC-Ex

Lightfinder and WDR

Protection class IP66/68 (IEC 60529)

H.265 video compression

Made in Germany

Videokomprimierung H.265

Other Features (Specifications)

| Brand | SAMCON |
| --- | --- |
| Series | ExCam |
| Camera Type | Explosionsgeschützt |
| Resolution Standard | HD 1080p |
| System | True Day&Night |
| Sensor size | 1/2.8" |
| Imager | CMOS |
| Video compression | Axis Zipstream, H.264, H.265, M-JPEG |
| Image resolution max. | 1920x1080 |
| Image Transmission Rate | 60 fps |
| Day&Night switch | ICR |
| Sensitivity | 0,1 Lux bei 50 IRE F1.5 |
| Digital Noise Reduction | yes |
| Lens Type | auto focus zoom |
| Focal Length | 4 - 84,6 mm |
| Digital Zoom | no |
| Horizontal Angle of View | 76 - 3,6° |
| Housing | Explosionsgeschützt |
| Color (housing) | Edelstahl |
| Hosuing material | Stainless steel |
| Heater | no |
| Video outputs | no |
| Alarm inputs | nein |
| Audio support | no |
| Serial interfaces | Ethernet |
| Internal storage | microSD-Kartenslot |
| Supply voltage | PoE |
| Power over Ethernet | IEEE 802.3af, IEEE 802.3at |
| Operating temperature | -40°C ~ +50°C |
| ONVIF | ONVIF Profile G, ONVIF Profile M, ONVIF Profile S, ONVIF Profile T |
| Certifications | ATEX, EACex, IECEx, INMETRO, MASC, UKEX |
| Protection rating | IP66/68 |
| Low Speed Shutter | yes |
| Backlight Compensation | n/a |
| Wide Dynamic Range (WDR) | 120dB |
| Motion Detector | yes |
| Manufacturer order number | 22070401 |

Additional Productinformation

<h2>FullHD-Auflösung trifft auf leistungsstarkes Motorzoom-Autofokus-Objektiv und DLPU</h2><div class="ce-textpic ce-left ce-above"><div class="ce-bodytext"><p class="align-justify">Die Excam IPQ1715 ist eine leistungsstarke Motorzoom-Netzwerkkamera, besonders geeignet für den Einsatz in explosionsgefährdeten Bereichen. Sie bietet <strong>HDTV-Auflösung (1920 x 1080), </strong>ein leistungsstarkes Motorzoom-Autofokus-Objektiv <strong>(21x optischer Zoom) </strong>und eine Deep Learning Processing Unit <strong>(DLPU)</strong>. Zugelassen ist die ExCam IPQ1715 gemäß Richtlinie 2014/34/EU (ATEX), IECEx und EAC-Ex. Diese und weitere verfügbare Zulassungen finden Sie im Downloadbereich.</p><h2>Explosionsgeschützte IP-Kamera mit ATEX-, IECEx- und EAC-Ex-Zulassung</h2><p class="align-justify">Die ExCam-Reihe ist sowohl im Rahmen der europäischen (ATEX) als auch der internationalen Richtlinie (IECEx) zertifiziert. Das ex-geschützte Gehäuse ist für die ATEX Gruppe II für die Zonen 1, 2 sowie 21 und 22 einschließlich der Explosionsgruppen IIB / IIIC zugelassen. Des Weiteren verfügt sie auch über die EAC-Ex Zulassung.<br />Bei der Entwicklung der ExCam IPQ1715 wurde sehr hoher Wert auf Sicherheit sowie mechanische Präzision und hochwertige Edelstähle gelegt. Zudem stand ein modularer Aufbau im Vordergrund der Entwicklung.<br />Hinsichtlich der technischen Kennwerte sind wir an die Grenzen des Machbaren gegangen: In Bereichen, wie z.B. der Medienbeständigkeit und der Umgebungstemperatur setzen wir mit der ExCam-Reihe Maßstäbe.</p><h2>Motorzoom & Autofokus</h2><p class="align-justify">Die ExCam IPQ1715 bietet ein leistungsstarkes Motorzoom-Autofokus-Objektiv mit 21x optischem Zoom. Dank des 21-fachen optischen Zooms wird jedes kleinste Detail erfasst. Es entstehen hervorragende Detailaufnahmen mit einer hohen Pixeldichte auch über große Entfernungen.</p><h2>Temperaturen</h2><p class="align-justify">Die Grenzwerte der ExCam IPQ1715 liegen bei -60°C und +120°C. Hierbei hilft uns insbesondere die  PTC-Keramik-Heizung. Diese sorgen dafür, dass die Kamera auch bei -60°C eisfrei bleibt, während sie bei höheren Umgebungstemperaturen nicht zu heiß wird. Um bei extrem hohen Umgebungstemperaturen noch sicher betrieben werden zu können, wird die Kamera mit dem optionalen cool.Jacket ausgestattet.</p><h2>Minimaler Installationsaufwand & Power over Ethernet (PoE)</h2><p class="align-justify">Dank Power over Ethernet (PoE) können Daten und Spannungsversorgung in einem Kabel geführt werden. Somit wird für den Anschluss im sicheren Bereich nur noch ein PoE-Switch oder ein PoE-Midspan benötigt. Die Stromversorgung der Kameras erfolgt per Power over Ethernet (PoE gemäß IEEE 802.3af) über das Netzwerk, die kostspielige Installation einer separaten Energie-Versorgungsleitung entfällt. Die ExCam IPQ1715 liefert mehrere unterschiedliche Videoströme gleichzeitig und unterstützt H.264, H.265 und MJPG.</p></div></div><iframe width="560" height="315" src="https://www.youtube.com/embed/yiH4IoG4VsU?si=3xR45_boluhAlfyh&start=76" title="YouTube video player" frameborder="0" allow="accelerometer; autoplay; clipboard-write; encrypted-media; gyroscope; picture-in-picture; web-share" referrerpolicy="strict-origin-when-cross-origin" allowfullscreen></iframe>

Related products

| ExConnection Rail T04.5-D.BOR-4PoE++-1000Base | High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU |
| --- | --- |
| ExConnection Rail T04.6-D.BOR-8PoE++-1000Base | High-performance PoE switch for the Ex area pressure-resistant encapsulated housing with sight glass, Explosion protection approval 2014/34/EU |
| ExTB-3 Klemmkasten für ExCam Serie | Model: T12-M20-M20-M20 |
| Mastadapter PMB-VA1.x + VA.2.x | Compatible with all WMB wall brackets of the ExCam Series with the model codes T08-VA1.x, T08-VA2x and T03 |
| SKD02-T Kabel Kit 30 m | 30 meter SKD02-T system cable Digital special cable with Ex approval according to DIN EN 60079-14 |
| SKDP03-T Kabel Kit 30 m | 30 meter SKDP03-T system cable Digital special cable with Ex approval according to DIN EN 60079-14 |
| Wandausleger WMB-VA2.0 / VA2.1 / VA 2.2 Edelstahl | Steel) Compatible with housing sizes VA2.0 / VA2.1 VA2.2 |
| Wetterschutzdach WPR-VA2.2 (Edelstahl) | (Stainless Steel) |

Recommendations

Services