Specifications text

Article number

74302

Type

VB31PT

Short description

Passive Twisted Pair Transmitter or Receiver, Compos. Cable&BNC Plug In/Out

Main Features

Video and Data (up-to-coax) Transmission

Bandwidth: DC to 20MHz

Unshielded CAT2 (min) Cable Required

Up-to 225m to Passive Receiver (unshielded cable)

Up-to 500m to Active Receiver (TR515)

Up-to 1000m to Active Receiver (TR560)

No Adjustment Necessary

Immunity to Noise and Interference

BNC Plug / Terminal Block Connectors

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Model | mini module |
| Type of unit | transmitter / receiver |
| Range | 225 m |
| Signal transmission | video |
| Operation mode | passive |
| Manufacturer order number | VB31PT |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services