Specifications text

Article number

203992

Type

VB41X8

Short description

8 channel Passive Transceiver UTP Card, up to 225 m

Main Features

Video balun card for twisted pair

Quality video over ordinary twisted pair cable

8 Twisted pair balun inputs / 8 1Vpp outputs

Built-in surge suppression

Immunity to noise and interference

Built-in video loss detection

Optimized for 24AWG Cat cable

For distances up to 225m (Point-to-point wiring)

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Model | board |
| Type of unit | transmitter / receiver |
| Range | 225 m |
| Signal transmission | data, video |
| Protection rating | n/a |
| Operation mode | passive |
| Manufacturer order number | VB41X8 |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

| VH3200 | 19" Rack Mount Chassis, 32 Port, Video Hub, 24VAC, 1RU |
| --- | --- |

Recommendations

Services