Specifications text

Article number

241001

Type

liteServer Ex.micro.24.WL90

Short description

Model: T20-VA0.1.K1.BOR-L.N-005.1-K LED spotlight in stainless steel housing according RL2014/34/EU ATEX and IECEx, 1930lm

Main Features

Light angle: 90°

Color temperature 5000K

Made in Germany

Other Features (Specifications)

| Brand | SAMCON |
| --- | --- |
| Series | ExCam |
| Twilight switch | no |
| Supply voltage | 24VDC |
| PSU | integrated |
| Power consumption | approx. 13W |
| Power over Ethernet | nein |
| Certifications | ATEX, IECEx, UKEX |
| Protection rating | IP66/68 |
| Radiation angle (horizontal) | 90° |
| Manufacturer order number | 24060127 |

Additional Productinformation

Related products

Recommendations

Services