Specifications text

Article number

74309

Type

VB43ATF

Short description

Passive Twisted Pair Transmitter, Receiver, Video, Data, Power, BNC, RJ45

Main Features

Video, Data (RS-422) and Camera Power Transmission

Bandwidth: DC to 10MHz

4-pair of Unshielded CAT5 (min) Cable Required

Up-to 350m Video Transmission to Passive Receiver

Up-to 1000m Video Transmission to TR560 Receiver

Up-to 500m to Active Receiver (TR510)

Up-to 100m in TIA/EIA 568 Applications

No Adjustment Necessary

Immunity to Noise and Interference

BNC Plug Cable / RJ45 Jack

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Model | mini module |
| Type of unit | transmitter / receiver |
| Range | 350 m |
| Signal transmission | data, video, voltage |
| Protection rating | n/a |
| Operation mode | passive |
| Manufacturer order number | VB43ATF |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services