Specifications text

Article number

74313

Type

VH1656

Short description

Active Video Twisted Pair Receiver (16 Channel), BNC Outputs, 19", 24VAC

Main Features

16-channel Video Signal Twisted Pair Receiver

Bandwidth: DC to 10MHz

Unshielded CAT2 (min) Cable Required

Up-to 1000m (at Passive Transmitter and UTP Cable)

Up-to 2200m (Active Transmitter TT560)

Adjustment of Gain and Frequency Compensation

Cable Length Adjustment by Dip-switches

Ground-loop and Power Surge Protection

Protection from Static and other Interferences

Video, AC, Telephone, Computer Signals via 1 Cable

LED Indication for Gain and Video Loss Control

BNC Jacks / Terminal Block Connectors

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Model | housing |
| Type of unit | receiver |
| Range | 2200 m |
| Signal transmission | video |
| Protection rating | n/a |
| Operation mode | active |
| Manufacturer order number | VH1656 |

Additional Productinformation

Related products

Recommendations

Services