Specifications text

Article number

203980

Type

VH451

Short description

Twisted Pair Receiver, Video, Active, 4 Channels, BNC, 12-24VAC/VDC

Main Features

Active 4 channel video mini hub

Transmission over ordinary twisted pair

Distance: 450m

LED status indicators

Immunity to noise and interference

Compact design

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Model | module |
| Type of unit | receiver |
| Range | 450 m |
| Signal transmission | video |
| Protection rating | n/a |
| Operation mode | active |
| Manufacturer order number | VH451 |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services