Specifications text

Article number

242015

Type

Option Gehäuseheizung für ExCam IPQ6075

Short description

24VDC, max Leistungsaufnahme: 60W, für Temperaturen -50°C /+60°C, Mehrkosten pro Kamera

Main Features

For ExCam IPQ6075 T08-TNXCD-LL.H-005.N-P

Max power consumption: 60W

Ambient temperature: -50°C/+60°C

ATEX

Other Features (Specifications)

| Brand | SAMCON |
| --- | --- |
| Series | ExCam |
| Manufacturer order number | 22010004 |

Additional Productinformation

Related products

Recommendations

Services