Specifications text

Article number

213612

Type

TAM-4PC1001M0A

Short description

BNC IN / OUT, Surge Protection for HD-TVI and AHD Transmission

Main Features

BNC IN / OUT

Surge Protection in accordance with IEC 61000-4-5

Maximum discharge current - 2 kA

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 213612 |

Additional Productinformation

Related products

Recommendations

Services