Specifications text

Article number

217365

Type

IEB-54F0036M0A

Short description

1/3" Network Camera, Day&Night, 2592x1520, H.265, Infrared, 3.6mm, PoE, IP66

Main Features

1/3" Omnivision CMOS sensor

Fixed 3.6mm, Day&Night lens

Resolution max. 2592x1520

Compression H.265/ H.264/ MJPEG

Cross-Web-Browsing

ROI (Region of interest) Hi-Stream to reduce the bandwidth

Tampering, Defog

D-WDR (Digital Wide Dynamic Range)

Framerate increase on motion detection

Compact design, Outdoor applications, IP66

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 217365 |

Additional Productinformation

Related products

| AK-8B | Camera junction box, Wall and Ceiling mounting |
| --- | --- |
| AK-9 | Camera junction box for DH-6, Dome-WB4 |
| AK-9B | Camera junction box for DH-6, Dome-WB4 |
| eneo Site Manager | Management Software for eneo IP products |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45, and 1x SFP 1000Mbps, Unmanaged, Industrial Design |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |
| IAR-7SG1024MMA | Gigabit Switch, Managed, 390W, 24x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |

Recommendations

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |

Services

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |