Specifications text

Article number

79682

Type

VHM/ZLB-W

Short description

Weatherproof Housing (330), Heater, Central Plug, RAL9016/7035

Main Features

Camera weather protection

Housing body length: 330mm

Fold-down housing body

4 levels of camera height adjustment

Insulated camera mounting

Central connector with 30 pin contact strip

Cable entry with metal gland M25x1.5mm

Window heater & thermostat 24(12)V included

Window glass with "Clear-Shield" technology

Protection rating: IP66

Housing colour: RAL9016/RAL7035

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 79682 |

Additional Productinformation

Related products

| VHM/KV1 | Cable Connection Board with Thermostat for VHM/Z Housing |
| --- | --- |
| WD-16/MK-W | Wall Mount with Swivel Head for VHM Weatherproof Housings, RAL9016 |

Recommendations

Services