Specifications text

Article number

214560

Type

IED-63M2812P0A

Short description

1/2.8" Network Dome, Fixed, Day&Night, 2048x1536, Infrared 2.8-12 mm, 12VDC, PoE, Indoor

Main Features

1/2.8" Sony STARVIS CMOS-Sensor

Megapixel varifocal lens, motorized,

2.8~12mm, True Day & Night

Resolution max. 2048x1536

Compression H.264/MJPEG, Web Casting

Cross Web-Browsing, ONVIF

VerticalView 90°/270° Mode, H.264 only

VCA Video Analytic

D-WDR (Digital Wide Dynamic Range)

Framerate increase on motion detection

OpenVPN Support

Indoor application

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Observe (62 px/m) | 18 - 52 m |
| Recognize (125 px/m) | 9 - 24 m |
| Identify (250 px/m) | 5 - 13 m |
| Detect (25px/m) | 45 - 129 m |
| Manufacturer order number | 214560 |

Additional Productinformation

Related products

| AK-8B | Camera junction box, Wall and Ceiling mounting |
| --- | --- |
| AK-9B | Camera junction box for DH-6, Dome-WB4 |
| eneo Site Manager | Management Software for eneo IP products |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |

Recommendations

| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| --- | --- |

Services

| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| --- | --- |
| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |