Specifications text

Article number

214865

Type

IED-62F0036M0A

Short description

1/2.8" Network Dome, Fixed, Day&Night, 1920x1080, 3.6mm, Infrared, 12VDC, PoE, IP66

Main Features

1/2.8" Sony CMOS sensor

Resolution max. 1920x1080

Fixed 3.6mm Day&Night lens

Digital Wide Dynamic Range (D-WDR)

VCA (video content analysis)

Browser-independent (IE, Edge, Safari, Firefox, Chrome)

Triple Streaming: 2x H.264, 1x MJPEG

Responsive web design, Supports zero configuration

Vertical view 90° / 270° mode (H.264 only)

ONVIF confirmation, PoE IEEE802.af

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 214865 |

Additional Productinformation

Related products

| ECB-1 | Medienkonverter, Innen, 1x RJ45, 1x SFP |
| --- | --- |
| eneo Site Manager | Management Software for eneo IP products |
| ENI-900P | &nbsp; |
| ENX-900P | &nbsp; |
| EPS-1008 | &nbsp; |
| EPS-1016 | &nbsp; |
| EVX-900B | Media Converter, indoor, Transmitter-Receiver, 1x RJ45, 1x BNC, 12V, up to 1000m |
| EVX-900R | Media Converter, Indoor, Transmitter-Receiver, 1x RJ45, 1x RJ-11, 12V, up to1000m |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45, and 1x SFP 1000Mbps, Unmanaged, Industrial Design |
| IAM-5SG1008MMA | Gigabit Switch, Managed, 240W, 8x PoE, 4x SFP, 1000Mbps, Industrial Design, -40°C~+75°C |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |
| IAR-7SG1008MMA | Gigabit Switch, Managed, 135W, 8x PoE, 2x SFP, 2xRJ45, 10/100/1000 Mbps, 19", 1 U |
| IAR-7SG1016MMA | Gigabit Switch, Managed, 270W, 16x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| IAR-7SG1024MMA | Gigabit Switch, Managed, 390W, 24x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| VT-PS12DC-11 | Stecker Netzgerät, 100-240VAC/12VDC (1,0A), stabilisiert, mit Hohlstecker |

Recommendations

| CON-KAM-IPKON | IP preconfiguration network Camera, functional test, Firmware update |
| --- | --- |
| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| SanDisk High Endurance 32GB | MicroSDHC Speicherkarte, 32GB, Class 10, 20MB/s, für Videoüberwachung optimiert |
| SanDisk High Endurance 64GB | MicroSDXC Speicherkarte, 64GB Class 10, 20MB/s, Videoüberwachung optimiert |
| SC-IPM07HD | Test Monitor, Multiformat, for installation, IP, HD-TVI/CVI, HD-AHD, HD-SDI, CVBS, HDMI |
| WDD064G1P0A | MicroSDXC Speicherkarte, 64GB, Class 10, UHS Class 1, 50MB/s, für Videoüberwachung |

Services