Specifications text

Article number

220083

Type

IED-62M2812MAA

Short description

1/2.8" Network Dome, Fixed, 1920x1080, Day&Night, WDR, 2,8-12mm, Infrared, IP66

Main Features

1/2,8" Sony STARVIS CMOS

Resolution max. 1920x1080, 25fps frame rate

Motorised varifocal lens 2,8~12mm with P-Iris

Intelligent self-learning video analysis (IntelliVision inside)

Wide Dynamic Range, T-WDR (120dB)

Quad Streaming: H.264, H.265 x3, MJPEG x1, Smart Codec ROI Hi-Stream

Micro SD Card (SDHC, SDXC)

1 x Alarm in and output as well as audio support

Infrared illumination up to 30m

PoE IEEE 802.3af Class 0,12VDC, IP66

Supports ONVIF Profile S and Profile T

Colour white

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Dimensions (HxWxD) | 99x144mm |
| Series | eneo SN-Series |
| Resolution Standard | HD 1080p |
| System | True Day&Night |
| Sensor size | 1/2.8" |
| Imager | CMOS |
| Video compression | H.264, H.264+ (Smart Stream), H.265, H.265+ (Smart Stream), M-JPEG |
| Image resolution max. | 1920x1080 |
| Image Transmission Rate | 30 fps |
| Day&Night switch | ICR |
| Sensitivity | 0,03 Lux at F1,6, 40 IRE |
| Digital Noise Reduction | yes |
| Lens Type | Varifocal (motorized) |
| Focal Length | 2,8 - 12 mm |
| Iris Control | DC, P-iris |
| Zoom Factor | 4x |
| Digital Zoom | yes |
| Observe (62 px/m) | 16 - 55 m |
| Recognize (125 px/m) | 8 - 26 m |
| Identify (250 px/m) | 4 - 13 m |
| Detect (25px/m) | 40 - 130 m |
| Horizontal Angle of View | 100 - 33° |
| Vertical Angle of View | 56 - 18° |
| MOD (Mininum Object Distance) | 0,5 m |
| llumination | Infrared |
| Housing | Outdoor |
| Color (housing) | white |
| Color (bubble) | clear |
| Hosuing material | Aluminium |
| Heater | no |
| Window heater | no |
| Blower | no |
| Rotation range | 359° |
| Alarm inputs | 1 |
| Alarm outputs | 1 |
| Audio support | yes |
| Ethernet interface | 100Base-TX, 10Base-T |
| Serial interfaces | Ethernet |
| Internal storage | microSDHC card, microSDXC card |
| Analysis functions | Cross Counting (CC), Human (PD), Loitering detection, Motion detection, Perimeter Intrusion Detection (PID), Tampering Detection (TD) |
| Mounting | Ceiling mount, Wall mount |
| Supply voltage | 12VDC, PoE |
| Power consumption | 8,5W |
| Power over Ethernet | IEEE 802.3af |
| Vandal proof | yes |
| Operating temperature | -20°C ~ +50°C |
| ONVIF | ONVIF Profile S, ONVIF Profile T |
| Certifications | IK10 |
| Protection rating | IP66 |
| Low Speed Shutter | yes |
| Backlight Compensation | BLC |
| Wide Dynamic Range (WDR) | WDR 120dB |
| Motion Detector | yes |
| Camera type | Dome |
| Audio | 2 Way Audio |
| Remote configuration | Browser |
| Illumination range | approx. 30m |
| Weight | 776g |
| Manufacturer order number | 220083 |

Additional Productinformation

<h2>eneo IP-Dome mit Videoanalyse für hohe Alarmgenauigkeit</h2><p>Sie wollen Videoaufnahmen in Full HD und das bei ausgezeichneter Preis-Leistung? Dann empfiehlt sich diese eneo IP-Kamera mit Videoanalyse. Dank intelligenter Algorithmen lernt die Dome-Kamera aus der eneo SN-Serie während des laufenden Betriebs, unbedeutende Bewegungen von sicherheitsrelevanten Bewegungsmustern zu unterscheiden. So erzielt der IP-Dome in kurzer Zeit eine immer höhere Alarmgenauigkeit, indem er z. B. schaukelnde Äste oder Reflexionen als Hintergrundrauschen klassifiziert. Detektiert die Kamera hingegen herumlungernde Personen oder Bewegungen in bestimmten Bildbereichen, löst sie einen Alarm aus. Zum Funktionsumfang des eneo IP-Dome mit Videoanalyse zählen Bewegungsanalyse und Bewegungserkennung, Intrusionsdetektion (Erkennung von unbefugten Eindringlingen), Loitering-Detektion (Erkennung herumlungernder Personen) sowie Personen- und Richtungserkennung mit integrierter Objektzählung. Indem die eneo IP-Kamera mit Videoanalyse sich selbständig optimiert, steigert sie die Effizienz der gesamten Videosicherheitslösung. <br><br></p><h3>Video in Full HD und komfortables Set-up</h3><p>Der eneo IP-Dome mit Videoanalyse kommt mit einem motorisierten Varifokalobjektiv mit einer Brennweite von 2,8?12mm und erreicht eine maximale Bildauflösung von 1920x1080 Pixeln (Full HD). Die P-Iris-Blendensteuerung ermöglicht eine schnelle und komfortable Einstellung des Bildbereichs. Für den nahtlosen Tag-Nacht-Betrieb ist die Kamera mit Infrarot-LEDs mit einer Reichweite von bis zu 30m ausgestattet. <br><br></p><h3>Wetterfest und robust</h3><p>Der eneo IP-Dome mit Videoanalyse ist bestens für den Einsatz im Außenbereich gerüstet. Hierfür verfügt er über ein robustes und gegen Vandalismus geschütztes Aluminiumgehäuse (IK10). Darüber hinaus entspricht die eneo IP-Kamera der Schutzklasse IP66. Damit ist die Kamera gegen Fremdkörper und starkes Strahlwasser geschützt. <br><br></p><h3>Herstellerübergreifend kompatibel</h3><p>Die eneo IP-Kamera mit Videoanalyse unterstützt die ONVIF-Profile S und T. Dadurch ist die Kompatibilität mit ONVIF-konformen Geräten anderer Hersteller gegeben. Dies bietet Errichtern die Möglichkeit, die Kamera mit einer großen Auswahl an Produkten zu kombinieren ? Voraussetzung für passgenaue Branchenlösungen. </p>

Related products

| AK-9B | Camera junction box for DH-6, Dome-WB4 |
| --- | --- |
| eneo Site Manager | Management Software for eneo IP products |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IED-FMH1 | Ceiling mount adapter with white cover for fix dome cameras, SN-series |

Recommendations

| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| --- | --- |

Services

| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| --- | --- |
| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |