Specifications text

Article number

220203

Type

IPP-88A0030MIA

Short description

1/1,7" Network Dome, PTZ, Day&Night, 30x, H.265, WDR, 3840x2160, Infrared, IP66

Main Features

1/1,7" Sony STARVIS CMOS-Sensor

8.0MP 3840x2160 Pixel, 25/30fps

30x AF Zoom, 6~180mm

Quad Stream H.265, H.264, MJPEG (Smart Codec)

Real time WDR (Wide Dynamic Range) 25/30fps

Intelligent self learning video analysis

Digital Noise Reduction (2DNR/3DNR)

Audio support including audio alarm

Infrared illumination up to 200m

Alarm in- and outputs, micro SD-card

Power supply 12VDC or UPoE (High-PoE Midspan included)

Support ONVIF Profile S und Profile T

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Dimensions (HxWxD) | 317,8x201.8mm |
| Series | eneo SN-Series |
| Resolution Standard | 8 Megapixel |
| System | True Day&Night |
| Sensor size | 1/1,7" |
| Imager | CMOS |
| Video compression | H.264, H.264+ (Smart Stream), H.265, H.265+ (Smart Stream), M-JPEG |
| Image resolution max. | 3840x2160 |
| Image Transmission Rate | 30 fps |
| Day&Night switch | ICR |
| Sensitivity | 0,75 Lux at F1,6, 50 IRE |
| Digital Noise Reduction | yes |
| Lens Type | auto focus zoom |
| Focal Length | 6 - 180 mm |
| Iris Control | DC |
| Zoom Factor | 30x |
| Digital Zoom | yes |
| Observe (62 px/m) | 58 - 1300 m |
| Recognize (125 px/m) | 29 - 640 m |
| Identify (250 px/m) | 14 - 300 m |
| Detect (25px/m) | 140 - 3000 m |
| Horizontal Angle of View | 55,4 - 2,7° |
| Vertical Angle of View | 31,1 - 1,5° |
| MOD (Mininum Object Distance) | 1 m |
| llumination | Infrared |
| Housing | Outdoor |
| Color (housing) | black, white |
| Hosuing material | Aluminium |
| Heater | no |
| Blower | yes |
| Rotation range | 360° |
| Speed (manual) | 380°/Sek. |
| Speed (preset) | 380°/Sek. |
| Video outputs | no |
| Alarm inputs | 4 |
| Alarm outputs | 1 |
| Audio support | yes |
| Ethernet interface | 100Base-TX, 10Base-T |
| Serial interfaces | Ethernet |
| Internal storage | microSDHC card, microSDXC card |
| Analysis functions | Cross Counting (CC), Defog, Digital image stabilization, Human (PD), Loitering detection, Motion detection, Perimeter Intrusion Detection (PID), Tampering Detection (TD) |
| Mounting | Ceiling mount, Wall mount |
| Supply voltage | 12VDC, PoE |
| Power consumption | 28W |
| Power over Ethernet | HiPoE+ |
| Vandal proof | no |
| Operating temperature | -30°C ~ +55°C |
| ONVIF | ONVIF Profile S, ONVIF Profile T |
| Protection rating | IP66 |
| Low Speed Shutter | yes |
| Backlight Compensation | BLC |
| Wide Dynamic Range (WDR) | WDR 120dB |
| Motion Detector | yes |
| Camera type | PTZ |
| Audio | 2 Way Audio |
| Remote configuration | Browser |
| Illumination range | approx. 200m |
| Weight | 5.1kg |
| Manufacturer order number | 220203 |

Additional Productinformation

Related products

| EDC-WMB1-W | Wall Mount for PTZ Dome Cameras, white, with Mounting Kit |
| --- | --- |
| eneo Site Manager | Management Software for eneo IP products |

Recommendations

| WDD064G1P0C | MicroSDXC Speicherkarte, 64GB, Class 10, UHS-I U1, 32TBW, für Videoüberwachung |
| --- | --- |

Services

| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| --- | --- |
| LACKIERUNG PTZ oder Panoramakamera | Extra charge for special paint PTZ dome or panoramic camera in RAL color |
| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |