Specifications text

Article number

200701

Type

EL1500C

Short description

Ethernet, PoE Extender, Coax, 1 Port, Extension of 500m Set aus 1x ER1500C/1x ET1543C

Main Features

Extension by 500 meters via coaxial cable

Supports any network device, including IP cameras

Supports megapixel cameras

Fully transparent to the network

Easy to install, no set up required

Optional PSU for non-PoE switches

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Type | Sender/Empfänger |
| Series | Ethernet Extender, PoE Extender |
| Mounting | ceiling mount, desktop, wall mount |
| Transmission medium | Coax |
| Ports | 1x 10/100Base-TX, 1x coax/BNC |
| PoE ports (number) | 1 |
| Output power | 15,4W, 22.8W, 26W |
| Input power | 33W |
| Extension | 500 m |
| Model | housing |
| Wavelength | n/a |
| Range | 500 m |
| Supply voltage | PoE |
| PoE output | IEEE802.3af, IEEE802.3at, n/a |
| PoE input | n/a |
| Operating temperature | -40°C ~ +75°C |
| Protection rating | n/a |
| Operation mode | n/a |
| Manufacturer order number | EL1500C |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

| PS48 | Power Supply, 48VDC, 1A, for Nitek IPT148, EE328 |
| --- | --- |

Recommendations

Services