Specifications text

Article number

99026

Type

EE328

Short description

Ethernet, PoE Extender, 1 Port, Extension of 100m (up to 600m maximum)

Main Features

Each unit extends the cable run by 100 meters

Transmits up to distances of 600meters / 2000ft.

Supports any network device, including IP cameras

Supports megapixel cameras

Fully transparent to the network

Easy to install, no set up required

Optional PSU for non-PoE switches

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Type | PoE extender |
| Ports | 1 |
| Gigabit | no |
| Output power | n/a |
| Input power | n/a |
| Extension | 100 m |
| PoE output | PoE (IEEE802.3af) |
| PoE input | PoE (IEEE802.3af) |
| Operating temperature | -10°C ~ +60°C |
| Manufacturer order number | EE328 |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

| PS48 | Power Supply, 48VDC, 1A, for Nitek IPT148, EE328 |
| --- | --- |

Recommendations

Services