Specifications text

Article number

203974

Type

IP1648

Short description

PoE Injector, 16 Channels, RJ45, 10/100MBit, 19", 1RU, 115/220VAC

Main Features

16 channel PoE Injector

15,4W per channel (IEEE802.3af)

LED status indicator per channel

19" rack mount

Only 1RU high

115/220VAC

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Manufacturer order number | IP1648 |

Additional Productinformation

Related products

Recommendations

Services