Specifications text

Article number

214832

Type

DRP-240-48

Short description

Power Supply IAM-5 Series 240W, DIN Rail

Main Features

DIN Rail power supply

For IAM-5SE Gigabit switch

Temperature range -10° C ~ +70° C

Power output  240W

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 214832 |

Additional Productinformation

Related products

Recommendations

Services