Specifications text

Article number

79423

Type

NE-112/2

Short description

Power Supply Unit 230V/12V (600mA), Regulated, 24V (1000mA) f. VHM Housing

Main Features

Camera power supply for VHM housing series

Mains input: 230VAC/50Hz

Mains connection: terminal block

Voltage output: 12VDC/0.6A / 24VAC/1.0A

Secondary cables with open ends

Connections for thermostat, heater and ground

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 79423 |

Additional Productinformation

Related products

Recommendations

Services