Specifications text

Article number

212550

Type

NE-140/12V

Short description

Power Supply Unit 230V/12VDC-2.1A for Housings VTL-WWA

Main Features

Camera power supply for VTL-WWA housing series

Mains input: 230VAC/50Hz

Mains connection: terminal block

Voltage output: 12VDC/2.1A, regulated

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 212550 |

Additional Productinformation

Related products

Recommendations

Services