Specifications text

Article number

79467

Type

VHU-260/12V

Short description

Candid weatherproof Housing (260mm), with Heater and Thermostat, 12VDC

Main Features

Camera weatherproof housing for small cameras

Integrated ball point head for smooth adjustment

For wall/ceiling and upright mounting

For cameras with 12VDC, 24VAC power input

Window heater: 12V

Insulated camera mounting

Cable entry: M25X1.5mm

Fully hidden cable routing

Protection rating: IP66/67

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Dimensions (HxWxD) | see drawing |
| Series | eneo Candid |
| Housing | Outdoor |
| Max. installation length | 260 mm |
| Color (housing) | RAL7035, RAL7037, RAL9016 |
| Color | (Sunshield and body) RAL7035 (Front and back) RAL7037 (Inner ball, fixing ring) |
| Hosuing material | Aluminium |
| Wiper | nein |
| Window heater | ja |
| Blower | no |
| Supply voltage | 12VAC/DC |
| Protection rating | IP66/67 |
| Weight | 1.4kg |
| Manufacturer order number | 79467 |

Additional Productinformation

Related products

| VHU-NT1 | Netzgerätefuß für Candid, VHU- Gehäuseserie 230VAC, 12VDC, 14VAC (Kamera/Heizung) |
| --- | --- |

Recommendations

Services