Specifications text

Article number

204466

Type

VT-PS12DC-12

Short description

Power supply, for AK-4, 100-240VAC/12VDC (1,5A), stabilized, open ends

Main Features

Input voltage: 100-240VAC

Output: 12VDC/1.5A

15cm secondary cable with open ends

Plastic housing

Power supply for AK-4 camera junction box

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Hosuing material | Plastic |
| Output voltage | 12VDC |
| Power consumption | 20W |
| Operating temperature | 0°C ~ +50°C |
| Manufacturer order number | 204466 |

Additional Productinformation

Related products

Recommendations

Services