Specifications text

Article number

218347

Type

SOL-IQswitch-8PU

Short description

Camera junction box with 8-port unmanaged switch 8xPoE, 1xRJ45, 1xSFP 1000Mbps

Main Features

Ready-to-use junction box solution

incl. SOL-IQbox-budget

incl. Switch IAM-5SE1008MUA

incl. Power supply DRP-240-48

Electrically prewired and tested

Optimised for outdoor use

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Other Features (Specifications)

| Brand | Solvido |
| --- | --- |
| Manufacturer order number | 218347 |

Additional Productinformation

Related products

| jetassy-SBT12 | Spleißbox mit Telekom Spleißkassette für 12 Spleiße |
| --- | --- |
| SFP-0850M10 | SFP Modul, 1.25Gbps, 550m, Multimode, 850nm, Duplex LC Connector, 0°~+70°C |
| SFP-1310M40 | SFP Modul, 1.25Gbps, 550m, Multimode, 1310nm, Duplex LC Connector, -40°~+75°C |
| SFP-1310S10 | SFP Modul, 1.25Gbps, 20km, Singlemode, 1310nm, Duplex LC Connector, 0°~+70°C |
| SFP-1310S40 | SFP Modul, 1.25Gbps, 20km, Singlemode, 1310nm, Duplex LC Connector -40°~+75°C |
| SOL-WST-HT | Heating and thermostat for CUS-WST and SOL-IQbox series 230V / 22W incl. installation |
| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| SOL-WST-PHZ1 | Profile half-cylinder for swivel lever handle, delivery with 2 keys |
| SOL-WST-SBL | Tightening strap long for SOL-WST-MB, CUS-WST, SOL-IQbox set 2pcs. 1.5m stainless steel |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-30 | Erdungsset für Schlösser SOL-WST-SSK für IQbox -budget, -eco, -switch |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services