Specifications text

Article number

213474

Type

NE-128B

Short description

Voltage supply unit 230V/24V-5A, Plastic housing, IP66

Main Features

Voltage supply unit for driven dome cameras

Fastrax Analog, IP und HD-TVI series

P/T series VPT-5xx/6xx

Input voltage: 230VAC

Output: 24VAC/5A

Data cable loop-trough terminal inside

Protection rating: IP66

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Manufacturer order number | 213474 |

Additional Productinformation

Related products

Recommendations

Services