Specifications text

Article number

218065

Type

SOL-IQbox-maxi

Short description

Camera junction box for video surveillance with socket FI/LS, 500x400x210mm

Main Features

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Contemporary design

Including service socket, personal protection

inkl. Servicesteckdose, Personenschutz

Other Features (Specifications)

| Brand | Solvido |
| --- | --- |
| Manufacturer order number | 218065 |

Additional Productinformation

Related products

| jetpower-NDR-120-48 | Netzgerät für DIN Rail Montage 230VAC Eingang, 48VDC Ausgang, max. 120W |
| --- | --- |
| SOL-WST-HT | Heating and thermostat for CUS-WST and SOL-IQbox series 230V / 22W incl. installation |
| SOL-WST-MB-40 | Pole Mount 40cm, set (2pcs) for SOL-IQbox-maxi |
| SOL-WST-PHZ1 | Profile half-cylinder for swivel lever handle, delivery with 2 keys |
| SOL-WST-SBL | Tightening strap long for SOL-WST-MB, CUS-WST, SOL-IQbox set 2pcs. 1.5m stainless steel |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services