Specifications text

Article number

218307

Type

MCB-72M2713M0A

Short description

1/2.8" HD Camera, Day&Night, 1920x1080, Infrared, WDR, 2.7-13,5mm, 12/24V, IP67

Main Features

1/2.8" 2 megapixel SONY STARVIS 2 CMOS sensor

Super low light performance by STARVIS2 sensor

Resolution max. 1920x1080 (Full HD)

Integrated connection box with circuit board

Simple and tidy wiring

Separate outputs for digital and multi-signal

Multisignal: HD-TVI, AHD, CVI and Composite selectable

Digital signal: EX-SDI, HD-SDI selectable

Motorized lens 2.7 ~ 13,5mm

ROI (Region of Interest) WDR mode

Integrated motion detector, defog, privacy zones

IP67, built heater

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Dimensions (HxWxD) | 130,5x107,8x301mm |
| Serial interfaces protocols | UTC (HD-Signal Format) |
| Series | eneo Candid Medium, eneo COAXIZE, eneo KX-Series |
| Resolution Pixels | 1280x720, 1920x1080, 720x576 |
| Resolution Pixels | 1280x720, 1920x1080, 720x576 |
| System | True Day&Night |
| Sensor size | 1/2.8" |
| Imager | CMOS |
| Day&Night switch | ICR |
| Sensitivity | 0,08 Lux at F1,4, 40 IRE |
| Digital Noise Reduction | yes |
| Lens Type | Varifocal (motorized) |
| Focal Length | 2,7 - 13,5 mm |
| Iris Control | DC |
| Zoom Factor | 4x |
| Digital Zoom | no |
| Observe (62 px/m) | 17 - 80 m |
| Recognize (125 px/m) | 8 - 39 m |
| Identify (250 px/m) | 3,9 - 19 m |
| Detect (25px/m) | 45 - 190 m |
| Horizontal Angle of View | 97 - 29° |
| Vertical Angle of View | 54 - 17° |
| MOD (Mininum Object Distance) | 0,5 m |
| llumination | Infrared |
| Housing | Outdoor |
| Color (housing) | Pantone Cool Gray 1C |
| Hosuing material | Aluminium |
| Heater | yes |
| Video outputs | AHD, Composite (CVBS), CVI, EX-SDI, HD-SDI, HD-TVI |
| Alarm inputs | nein |
| Alarm outputs | no |
| Serial interfaces | Coaxitron (HD Protocol) |
| Analysis functions | Defog |
| Mounting | Ceiling mount, Wall mount |
| Supply voltage | 12VDC, 24VAC |
| Power consumption | 10.5W |
| Vandal proof | no |
| Operating temperature | -30°C ~ +50°C |
| Protection rating | IP67 |
| Low Speed Shutter | yes |
| Backlight Compensation | BLC, HLC |
| Wide Dynamic Range (WDR) | WDR 113dB |
| Motion Detector | yes |
| Signal format | AHD @ 2MP, Composite (FBAS), CVI @ 2MP, EX-SDI (270 Mbps), HD-SDI (1.485 Gbps), HD-TVI @ 2MP |
| Camera type | Bullet |
| Frame rate | 25/30fps @ 1920x1080p, 50/60fps @ 1280x720p |
| Aperture range (F) | F1.4 |
| Illumination range | approx. 60m |
| Weight | 1.6kg |
| Manufacturer order number | 218307 |

Additional Productinformation

<h2>HD Analog Bullet Kamera mit Easy Installation Anschlussbox</h2><p>Die HD Analog Bullet Kamera MCB-72M2712M0A von eneo kommt mit einer integrierten Anschlusslösung für die professionelle und optisch ansprechende Installation am Überwachungsbereich. In das hochwertig verarbeitete und IP67-geschützte Aluminiumgehäuse ist eine Heizung eingebaut, die den Außeneinsatz der HD Analog Bullet Kamera bei Temperaturen von -30°C?50°C ermöglicht. Darüber hinaus ist die Kamera mit fünf High Power IR-LEDs samt schwenkbarem IR-Sperrfilter bestückt, die eine Beleuchtungsreichweite von ca. 60m haben. Damit ist MCB-72M2712M0A bestens ausgestattet für die zuverlässige Videoüberwachung 24 Stunden am Tag, 7 Tage in der Woche. Die Infrarotbeleuchtung ist über das OSD-Menü der Kamera abschaltbar. <br><br></p><h3>Flexible Einbindung in bestehende Videosicherheitslösungen</h3><p>Die eneo HD Analog Bullet Kamera verfügt über ein motorisiertes Varifokalobjektiv mit einer Brennweite von 2,7?12mm und erreicht eine maximale Auflösung von 1920x1080 Pixeln (Full HD). Zudem unterstützt sie die Videosignale HD-TVI, AHD, Composite sowie EX-SDI und HD-SDI. Dadurch kann die HD Analog Bullet Kamera nahtlos in bestehende, Koax-basierte Videoüberwachungssysteme eingebunden werden. <br><br></p><h3>Privatzonenmaskierung und integrierter Bewegungsmelder</h3><p>Mit der Privatzonenmaskierungsfunktion unterstützt die HD Analog Bullet Kamera Anwender bei der datenschutzkonformen Videoüberwachung, während der integrierte Bewegungsmelder das Sicherheitspersonal bei detektierter Bewegung im Überwachungsbereich alarmiert. <br><br></p><h3>Funktionen für eine gleichmäßig hohe Bildqualität</h3><p>Um eine hohe Qualität der Videobilder zu gewährleisten, ist die HD Analog Bullet Kamera mit Bildoptimierungsfunktionen ausgestattet: WDR, BLC / HLC Gegenlichtkompensation und Defog (automatische Bildkorrektur bei Nebel, Niesel, Smog) stellen im Zusammenspiel sicher, dass die Kamera auch bei herausfordernden Lichtverhältnissen und Witterungsbedingungen hochwertige und aussagekräftige Bilder liefert. <br><br></p><h3>DORI Distanzen </h3><p>Die DORI-Werte geben Aufschluss über die optische Leistungsfähigkeit der HD Analog Bullet Kamera: Wahrnehmen (25 px/m) auf 45 bis 122m, Beobachten (62 px/m) auf 17 bis 48m, Erkennen (125 px/m) auf 8 bis 24m und Identifizieren (250 px/m) auf 3,9 bis 12m. </p>

Related products

| MAM-5DC1004M0A | Distributor, 1x BNC Input HD-TVI, CVI, AHD, CVBS, 4x BNC Output |
| --- | --- |
| MAM-5MM1001M0A | Converter, HD-CVI, HD-TVI, AHD, Composite to HDMI, VGA, Composite, Indoor |
| MAM-5MM2203M0A | Converter, 4K HD-TVI, HD-CVI, AHD, auf HDMI, Indoor 12VDC |
| PM-42A | Pole mount adaptor for eneo Candid, Candid S, Candid M, WB1, AK-5, AK-4 |
| PS12DC-11 | Plug-in Power Supply Unit, 100-240VAC/12VDC (1,0A), regulated, with DC Plug |
| TVA-1201TRA | UTP Transmitter+Receiver, UTP, BNC, 250m, Indoor, HD TVI CVI, AHD, CVBS, Active, 12V |
| TVA-1201TRP | UTP Transmitter+Receiver, UTP, BNC, 150m, Indoor, HD TVI CVI, AHD, CVBS, Passive |

Recommendations

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| SC-04MHD | Quad Splitter, 1920x1080, Composite, AHD, TVI, CVI Input Composite, HDMI, VGA Output |
| SC-MFM07HD | Test Monitor, Multiformat, for Service, HD-TVI/CVI/AHD, HD-SDI, EX-SDI, FBAS, HDMI |

Services

| LACKIERUNG Bulletkamera | Extra charge for special paint bullet camera in RAL color |
| --- | --- |
| LACKIERUNG Grundkosten | Painting basic costs once per RAL color and delivery lot |
| Vorkonfiguration analoge Kamera | Preconfiguration 1x analog camera Function test, FW update |