Specifications text

Article number

74125

Type

EDC-AKS1

Short description

Power&Connection Box with Mounting Bracket for In/Outdoor, 230V-24VAC/3.0A

Main Features

Power & connection box

Input voltage: 230VAC

Output: 24VAC/3.0A

Signal, data and alarm loop-tru terminals inside

Weatherproof die-cast aluminium wall mount box

Box includes turnable mounting arm

Protection rating: IP66

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| Dimensions (HxWxD) | see drawing |
| Color | Pantone Cool Gray 1C |
| Hosuing material | Aluminium |
| Alarm inputs | 4 |
| Alarm outputs | 2 (NO/NC) |
| Output voltage | 24 ~ 28VAC |
| Power consumption | 80W |
| Operating temperature | -40°C ~ +50°C |
| Weight | 3.8kg |
| Manufacturer order number | 74125 |

Additional Productinformation

Related products

| EDC-CMA2 | Corner Mount Adapter for EDC-IPx1/OPx1 Housings and Wall Bracket EDC/WMB1 |
| --- | --- |

Recommendations

Services